## costs_by_module_type_operation
Project ID with serial | Number of turbines | Turbine rating MW | Module | Operation ID | Type of cost | Cost / turbine | Cost / project | Cost / kW
WISDEM | 100 | 1.5 | FoundationCost | Foundation | Equipment rental | 3075.5357 | 307553.5698 | 2.0504
WISDEM | 100 | 1.5 | FoundationCost | Foundation | Labor | 36776.5999 | 3677659.9867 | 24.5177
WISDEM | 100 | 1.5 | FoundationCost | Foundation | Materials | 55730.3122 | 5573031.2161 | 37.1535
WISDEM | 100 | 1.5 | FoundationCost | Foundation | Mobilization | 4779.1224 | 477912.2386 | 6.3722
WISDEM | 100 | 1.5 | SitePreparationCost | Roads | Materials | 7977.5153 | 797751.5346 | 5.3183
WISDEM | 100 | 1.5 | SitePreparationCost | Roads | Equipment rental | 4120.1384 | 412013.84 | 2.7468
WISDEM | 100 | 1.5 | SitePreparationCost | Roads | Labor | 6094.6313 | 609463.1297 | 4.0631
WISDEM | 100 | 1.5 | SitePreparationCost | Roads | Other | 13073.0076 | 1307300.76 | 8.7153
WISDEM | 100 | 1.5 | SitePreparationCost | Roads | Mobilization | 830.0935 | 83009.352 | 0.5534
WISDEM | 100 | 1.5 | SubstationCost | Substation | Other | 48591.8207 | 4859182.0721 | 32.3945
WISDEM | 100 | 1.5 | GridConnectionCost | Transmission and Distribution | Other | 40847.7515 | 4084775.1529 | 27.2318
WISDEM | 100 | 1.5 | CollectionCost | Collection | Equipment rental | 4266.1469 | 426614.6863 | 2.8441
WISDEM | 100 | 1.5 | CollectionCost | Collection | Labor | 14028.8803 | 1402888.0268 | 9.3526
WISDEM | 100 | 1.5 | CollectionCost | Collection | Materials | 28080.5514 | 2808055.1407 | 18.7204
WISDEM | 100 | 1.5 | CollectionCost | Collection | Mobilization | 2318.7789 | 231877.8927 | 1.5459
WISDEM | 100 | 1.5 | DevelopmentCost | Development | Equipment rental | 0 | 0 | 0
WISDEM | 100 | 1.5 | DevelopmentCost | Development | Labor | 1500 | 150000 | 1
WISDEM | 100 | 1.5 | DevelopmentCost | Development | Materials | 0 | 0 | 0
WISDEM | 100 | 1.5 | DevelopmentCost | Development | Mobilization | 0 | 0 | 0
WISDEM | 100 | 1.5 | DevelopmentCost | Development | Other | 0 | 0 | 0
WISDEM | 100 | 1.5 | ErectionCost | Erection | Equipment rental | 7489.1149 | 748911.4928 | 4.9927
WISDEM | 100 | 1.5 | ErectionCost | Erection | Fuel | 288.255 | 28825.5 | 0.19217
WISDEM | 100 | 1.5 | ErectionCost | Erection | Labor | 51346.538 | 5134653.8032 | 34.231
WISDEM | 100 | 1.5 | ErectionCost | Erection | Mobilization | 8993.1 | 899310 | 5.9954
WISDEM | 100 | 1.5 | ErectionCost | Erection | Other | 0 | 0 | 0
WISDEM | 100 | 1.5 | ErectionCost | Erection | Materials | 0 | 0 | 0
WISDEM | 100 | 1.5 | ManagementCost | Management | insurance | 1883.719 | 188371.9006 | 1.2558
WISDEM | 100 | 1.5 | ManagementCost | Management | Construction Permitting | 4007.2314 | 400723.1402 | 2.6715
WISDEM | 100 | 1.5 | ManagementCost | Management | Project Management | 18877.6349 | 1887763.492 | 12.5851
WISDEM | 100 | 1.5 | ManagementCost | Management | Bonding | 3363.7839 | 336378.394 | 2.2425
WISDEM | 100 | 1.5 | ManagementCost | Management | Markup Contingency | 43796.4669 | 4379646.6892 | 29.1976
WISDEM | 100 | 1.5 | ManagementCost | Management | Engineering Foundation and Collections System (includes met mast) | 20713.25 | 2071325 | 13.8088
WISDEM | 100 | 1.5 | ManagementCost | Management | Site Facility | 13067.4835 | 1306748.35 | 8.7117